## MOM II Level 1 Spares
MOM II-L1-SPARES
Part Number | Description | Qty | UM
1002393 | PULLEY,IDLER ASSY | 1 | EA
1014951 | BELT,TRANSPORT,SINGLETRACK | 2 | EA
1017237 | SENSOR,X LIMIT CONVEYOR,2 METER,ASSY | 1 | EA
1017901 | CABLE,ADAPTER,SERVICEMOTOR,ASSY | 1 | EA
1017902 | CABLE,ADAPTER,SERVICESENSOR,ASSY | 1 | EA
2001384 | BULB ,LED,LAMP | 1 | EA
2005745-01 | MOTOR,STEPPER,186 OZ-IN,112 INCH FLEX W | 1 | EA
A2-397 | BRUSH,ANTI-STATIC | 2 | EA
P0923-8 | BULB,INDICATING BANK,24V,4W MIN,CLEAR | 2 | EA
P10301 | FILTER,ELEMENT,HDPE | 1 | EA
P10391 | ELEMENT,REPLACEMENT,FILTER,MIST SEPARATOR | 1 | EA
P10392 | ELEMENT,REPLACEMENT,FILTER,REGULATOR | 1 | EA
P10567 | TRACKBALL,AMBIDEXTROUS | 1 | EA
P10886 | FILTER,SOLVENT,74UM SS, | 1 | EA
P2379 | SENSOR,PHOTOELECTRIC, | 2 | EA
P7061 | SWITCH,EMERGENCY,STOP PUSHBUTTON | 1 | EA
P7667 | BUTTON,PUSH,START CYCLE,GREEN,ILLUMINATED | 1 | EA

## MOM II Level 2 Spares
MOM II-L2-SPR
Part Number | Description | Qty | UM
1014587 | PLATE,PIVOT,REAR | 1 | EA
1015738 | SENSOR,WIPER PAPEREMPTY,ASSY | 1 | EA
1015915 | MODULE,STEPPER DRIVE II,W/FW,NODE ID/BIT RATE | 1 | EA
1016503 | MOTOR,SOLVENT PUMP,DUALHEAD,200/300 ML/MIN | 1 | EA
1019733 | BOARD,RING LIGHT HIGHOUTPUT 2550CD,ASSY | 1 | EA
1024172 | PCB,ASSY,DRIVER IC | 1 | EA
P10083 | RELAY,GENERAL PURPOSE,24VDC,5A,4PDT | 1 | EA
P10098 | MODULE,CANOPEN I/O,5V,30MA,CONFIGURABLE,PCB | 1 | EA
P10176 | COUPLING,DISC,10MM X5/16" X 45.5MM,ALUMINUM | 1 | EA
P10444 | CYL,NON ROTATE,DBL ACT,10MM BORE,15MM STROKE | 1 | EA
P10866 | COUPLING,THRU BORE, | 1 | EA